EECP STEP 4 LOAD SHED TABLE UPDATE

SUMMER 2004

As directed by ERCOT Operating Guide 4 under Section 4.5.3, ERCOT has reviewed and modified the Load Shed Table used in Step 4 of EECP.  The ratios used were based on the 2003 4CP Calculation filed by TDSP’s with the PUCT.  Load ratios are assigned to Transmission Operators (TO’s) who act on behalf of TDSP’s.  If Step 4 of the EECP is implemented, these are the values, per 100 MW total, each TO is to shed.  This table will be posted with the Operating Guide Revisions as an administrative change and posted as an Operations Bulletin.

| Transmission Operator | Total Transmission Operator Load (MW) |
| --- | --- |
| Austin Energy | 3.92 |
| American Electric Power | 9.58 |
| Brazos Electric Power Cooperative | 3.65 |
| CenterPoint Energy | 23.83 |
| City of Bryan | 0.46 |
| City of College Station | 0.33 |
| City of Denton | 0.45 |
| City of Garland | 0.99 |
| City Public Service of San Antonio | 6.94 |
| Lower Colorado River Authority | 4.90 |
| Magic Valley Electric Cooperative | 0.47 |
| Oncor | 40.10 |
| Public Utility Board of Brownsville | 0.38 |
| Rayburn Country Electric Cooperative | 0.89 |
| South Texas Electric Coop-Medina Electric Coop | 0.60 |
| Tex-La | 0.13 |
| Texas New Mexico Power | 2.38 |
| ERCOT Total | 100.00 |