# Power Operations Bulletin #91

ERCOT has revised the Frequency Control Desk section of the Operating Procedure Manual.

Changes include updating verbiage in Step 2.5.3 first Note.

V2R13 – CN#125

| ### 2.5.3 Operator Instructions for High Frequency |  |  |
| --- | --- | --- |
| ###### Step # | ###### Procedural Steps |  |
|  |  | The following steps are to be taken in the event of High system frequency of unknown cause. If the cause of High System Frequency is known and system response or other actions are expected to correct it, then the following steps are optional. |
| NOTE: |  | For all frequency deviation events the Frequency Control Desk Operator must consult with the Transmission and Security desk to confirm that no OOMs from that desk could be affecting frequency. |

V2R13 – CN#126

| ### 2.5.3 Operator Instructions for High Frequency |  |
| --- | --- |
| ###### Step # | ###### Procedural Steps |
|  | The following steps are to be taken in the event of High system frequency of unknown cause. If the cause of High System Frequency is known and system response or other actions are expected to correct it, then the following steps are optional. |
| NOTE: | The Frequency Control Desk Operator may consult with the Transmission and Security desk to confirm that no OOMs from that desk could be affecting frequency. |

A copy of the procedure, Frequency Control Desk V2R13 – CN#126, is attached.