# ERCOT Operations Bulletin 177

ERCOT has revised the Transmission & Security Desk section of the Operating Procedure Manual.

Changes include updating section 2.2.6 “Mitigation Plans.”

| ### 2.2.6 Mitigation Plans |  |
| --- | --- |
| ###### Step # | ###### Procedural Steps |
| NOTE: | Mitigation Plans (MPs) are pre-determined actions to be taken associated with the occurrence of a specific contingency event if congestion management methods cannot resolve the post-contingency overload. If necessary, continue to use congestion management methods for post contingency loading after initiating the Mitigation Plan. With a Mitigation Plan, an operator does not need to declare an alert for a post contingency overload. If a Mitigation Plan is enacted and subsequent congestion management techniques do not control post contingency loading, ISSUE a transmission alert. |

A copy of Bulletin #177 is available at http://www.ercot.com/Participants/MarketBulletins.htm.