# Power Operations Bulletin #94

ERCOT has revised the Shift Supervisor Desk section of the Operating Procedure Manual.

Changes include adding new section 2.1.10 “Monitoring Market Clearing Prices.”

V2R8 – CN#133

| ### Monitoring Market Clearing Prices |  |
| --- | --- |
| ###### Step # | ###### Procedural Steps |
| 1 | Using the MOI, keep the “Zone” or the “Constraint” tab, which is on the Real-Time Balancing Market page, available to view at all times. - IF a constraint becomes “ACTIVE”, verify that the Transmission & Security Desk Operator is monitoring it and that it is not being over constrained. - IF the Zonal pricing shows to be abnormally high or low, check market conditions for that interval to insure that there is a sufficient amount of Balancing Energy, AND that the Balancing Offset is reasonable. |