# ERCOT Operations Bulletin 186

# CN#245 Replace RRS Through A Bilateral Trade

## Effective Date:  July 1, 2005

## Expiration Date:  December 15, 2005

Extending CN#193

Frequency Control Desk

When a Resource (either LAAR or GEN) that is supplying RRS becomes unavailable to a QSE (QSE–A) and needs to be replaced through a Bilateral Trade with another QSE (QSE–B), then, QSE-A is expected to inform ERCOT.

- Obtain the following information from QSE-A:  Intervals affected and the name of the QSE with whom the bilateral trade was made.

- Log this converstation and the information provided and forward the information by email to Mark Henry (Compliance) and Mark Patterson (Market Operations Support).

- IF the resource that became unavailable was a LAAR, then:

- Ensure that QSE-B maintains an amount of Responsive Reserve Service equal to their own obligations plus the amount of the bilateral agreement with QSE-A for the affected intervals.