# Power Operations Bulletin #96

ERCOT has revised the Transmission & Security Desk section of the Operating Procedure Manual.

Added new section 2.6.5 “Placing a Resource in Test Mode in the MOI.”

V2R23 – CN#134

| ### 2.6.5 Placing a Resource in TEST Mode in the MOI |  |
| --- | --- |
| ###### Step # | ###### Procedural Steps |
| NOTE | Placing a Resource in TEST Mode makes that resource unavailable for dispatch by the Market Clearing Engine. When in the Test Mode, the resource should not be dispatched unless: a) Dispatch instructions are a part of the testing; or b) During conditions when the generating unit is the only alternative for solving a transmission constraint; or c) During Force Majeure Events that threaten the reliability of the system. |
| NOTE | When directed by the Shift Supervisor, place a Resource in TEST mode as follows: |
| 1 | Through the Market Operator Interface (MOI) Manual Unit Dispatch Screen, ADD a record. |
| 2 | Enter the start and end dates and intervals, station, unit, and reason for test in the appropriate fields. |
| 3 | Check the “TEST” checkbox. |
| 4 | SAVE the record. |