# Power Operations Bulletin #97

ERCOT has revised the Shift Supervisor Desk section of the Operating Procedure Manual.

Added new section 2.2.9 “NERC and DOE Disturbance Reporting.”

V2R8 – CN#135

| ### 2.2.9 NERC and DOE Disturbance Reporting |  |
| --- | --- |
|  | ###### Procedural Steps |
|  | When Disturbance reporting is required: |
| NOTE: | NERC Email address: info@nerc.com, fax (609) 452-9550 DOE Email address: doehqeoc@oem.doe.gov, fax (202) 586-8485 DOE Operation Center: www.eia.doe.gov/electricity/edc/ DOE Operation Center voice phone: (202) 586-8100 ERCOT Compliance Email address: ct@ercot.com |
| 1 | Forward TDSP(s) report to ERCOT Compliance, NERC, and DOE. Ensure all three entities receive a report. (e.g. If TDSP sends a report to only one entity, make sure the other two entities receive a report as well.) |
| 2 | If ERCOT is required to issue a report to NERC and DOE even when the disturbance does not require a report from a TDSP (e.g. The disturbance involves two or more TDSPs area to meet the requirements for reporting.), then do the following: - Complete required reports per NERC Policy 5F and NERC Appendix 5F(C) section 1.3 - Forward reports to ERCOT Compliance, NERC, and DOE. |
| NOTE: | Form EIA#417 to report a disturbance can be downloaded at http://www.eia.doe.gov/cneaf/electricity/page/forms.html |