# Power Operations Bulletin #100

TC#133 – Verbal Dispatch Exception

## Effective Date:  July 7, 2004

## Expiration Date:  November 30, 2004

## Updated:  July 15, 2004

# Frequency Control Desk

NOTE: This is a workaround until further notice.

- A VDE shall be granted to a QSE for the intervals where the OOME instruction was not included in the MCE execution if the following conditions are met:

- A QSE must request a VDE.

- Accept a VDE request received before or during the first interval of the OOME instruction.

- A VDE shall not include any interval prior to the requested interval.

- Issue a VDE when a VDI has been issued if the following conditions are met:

- A QSE must request a VDE.

- Accept a VDE request received before or during the first interval of the VDI.

- A VDE shall not include any interval prior to the requested interval.

3.  Document the Exception on the Verbal Dispatch Exception form.

4.  ENSURE a copy of the VDE form, with appendages, is forwarded to Settlements and

Market Operations.  File the original in the daily logs.

## Verbal Dispatch Exception (Typical)

VDE#__________________________

VERBAL DISPATCH EXCEPTION

Operating Day_________________

ERCOT System Operator ______________________________ issued a

(ERCOT system operator)

Verbal Dispatch EXCEPTION to ____________________________,

(Requesting Entity)

Operator, ________________________ at _________________________,

(Requesting Entity’s Operator) (Time and Date)

UNIT NAME: _______________________________________________________

Interval Ending_____________ through Interval Ending____________

Verified Entity Operator has repeated Instruction _____________________

(ERCOT Operator Initials)

____________________________________________

(ERCOT Operator’s Signature)