# ERCOT Operations Bulletin 196

ERCOT has revised the Day Ahead Desk section of the Operating Procedure Manual.

Changes include the following:

- Procedure-wide changes:

  - Deleted all references to requesting that the Transmission & Security Desk Operator issue OCNs, Advisories, etc.

  - Deleted all Notes describing the naming conventions for Resource Plan Validation Studies and RPRS Studies.

  - Replaced all instances of “portal” with “Texas Market Link or TML”

  - Added Appendix 3 to provide information about how to perform certain tasks

  - Incorporated CN#202

- Section updates:

  - 1.4 – Deleted General Duty 2

  - 2.1 – Changed task title; updated step 1; revised NOTE and step 2 to accommodate fuel curtailments

  - 2.2 Step 2 – Added reference to new Appendix 3

  - 2.3 Step 2 – Replaced “consistent with the MOI” with “posted”; documented where data can be found on TML, public website and MOI

  - 2.4 Note 1 – replaced “today’s” with “the current day’s”; NOTE 3, bullet 4  replaced “should” with “may”; Step 1.3 – deleted folder name; Clarified examples

  - 2.5 Note – simplified definition; Step 1 – added save, print and file requirements

  - 2.6 Deleted task, left step available for future use (easier than renumbering everything)

  - 2.8 Deleted Note following Step 1

  - 2.9 Step 1 – Deleted reference to MOI display; Added Note following Step 2; Step 3.1 – Replaced “using the Details Screen”, with the correct reference display; Step 3.7.1 – bulleted step added

  - 2.10 Step 2 – added bulleted step; Step 6 – added example

  - 2.11 NOTE – deleted “Complete validation by 1630.”; Step 4 – added “and Uncheck the ‘Execute SFT.”; Step 6 – added “By 1630,”; Step 8 – added display information; Steps 10, 11 and 12 -- revised to provide clarity and flexibility

  - 2.12 Step 1.1 – added ““and Uncheck the ‘Execute SFT.”; Step 2 – replaced “Replacement” with “Resource”; 2.1 – added specific direction; Step 2.3 – new step; Step 3.5 – deleted step; Step 4 – deleted step

  - 2.13 – added Note prior to Step 1

  - 2.16 Step 1 – deleted third sentence; Step 2 – deleted step

  - 2.17 – clarified example

  - 2.18 step 5 – changed “Notification” to “Notice”

  - 3.3 Appendix 2, first Note – put protocol required information back in that had been mistakenly removed during previous revision; Appendix 2 , third Note – deleted Fleet VDI references; VDI form – added (mm/dd/yyyy) at the request of Settlements

  - 3.4 Appendix 3 – replaced with task performance information

  - 3.5 Appendix 4 – incorporated CN# 223

  - 3.6 Addendum 1 – several updates and formatting changes and added instruction for withdrawing approved outages, if necessary

A copy of the updated procedure, Day Ahead Desk V3R19, is available at http://www.ercot.com/AboutERCOT/PublicDisclosure/ERCOTProcedures.htm.