# ERCOT Operations Bulletin 198

ERCOT has revised the Frequency Control Desk section of the Operating Procedure Manual.

Changes include the following:

2.1	Deleted	"to ensure ERCOT is Meeting Load Requirements"

2.8.2	Added	"East DC Tie" to end of line

2.8.3	Added	"Managing and Documenting Daily Inadvertent and Payback 			South DC Tie

2.8.4	Added	"Adjustment of DC Ties"

2.8.3	Changed	2.8.5

2.8.4	Changed	2.8.6

3.7	Added	"Appendix 7:  Scheduled Outages on the North and East DC Tie"

2.1	Deleted	"to ensure ERCOT is Meeting Load Requirements"

2.1.1  Step2b	Changed	If real-time generation is approaching planned capacity a possible 	shortage is developing.  "Discuss situation with Operating Period Desk and 	Shift Supervisor", and increase monitoring of reserves.

2.1.1  Step 3	Deleted	"If a shortage is developing over two hours ahead, suggest 	opening an additional Replacement Reserves Market."

2.1.2  Note 2	Deleted	"When issuing a VDI, all information on the VDI form must be 	communicated to the recipient or ERCOT will be in violation of Protocol 	Section 5.4.2."

2.1.2  Note 3	Deleted	"Such a communication is not a VDI but simply verification.  If a 	VDI form is filled out which simply re-iterates an instruction already given 	via the XML, note this on the VDI form in the space titled "The Instruction 	was as follows."

2.1.3  Step 5	Changed	Give the VDE, with appendices to the Shift Supervisor.

2.2.1 Step 5	Changed	Should reference Appendix 5.

2.2.1  Step 7	Changed	Should reference Appendix 5.

2.3.1  Step 1	Changed	…schedule (e.g. when testing a generator) inform the Shift 	Supervisor.

2.1.7  Step 1	Changed	Meteorologist support is available 24 hours a day, seven days a 	week at (952) 882-4312.

2.4.3  Step 1	Deleted	Check each regulation provider responsible for over five percent 	of regulation services as shown on the Responsive, Regulation, and SCE 	Display.

2.4.3  Step 1	Deleted	Check the "CURRENT - 15 minute Compliance Factor (CF 15-	min)."  If this factor is less than one (1) then this QSE is meeting their 	obligation.

2.4.3  Step 1	Deleted	If the CF (15-min) is greater than one (1), this QSE is one of the 	contributors to the failing ERCOT CPS1 performance.

2.4.3  Step 1	Deleted	If the monthly CF is greater than one (1), this QSE is a repeat 	offender.

2.4.3  Step 1	Added	"Check the "Requested ACE Percentage" to be large enough to 	provide fast acting response.

2.4.3 Step 1	Added	Check regulation Service to be available during the time frame.

2.4.3  Step 1	Added	"If Regulation Service was depleted check with Operating Period 	Desk about Balancing Energy."

2.4.3  Step 1	Added	"If Regulation Service was depleted check for QSEs with large 	SCE in the direction of the depleted Regulation Service.  If the cause for the 	large SCE is unknown contact the QSE and inquire about the status of their 	SCE.

2.4.3  Step 2	Deleted	Delete this entire step.

2.4.3 Step 3	Changed	LOG (under the Compliance tab) the event and the probable 	cause of the poor performance.

2.5.1  Step 5	Deleted	"Take a QSE out of "requested status"

2.5.3  Step 1	Changed	When frequency reaches 59.91 HZ and responsive reserve is 	deployed, and frequency is believed to be incorrect VERIFY that the 	frequency is correct by comparing the data from multiple sources

2.5.3  Step 1	Changed	Go to the “Generation Area Status” display,  and click on the “i” 	to the left of Current Frequency

2.5.4  Note 1	Added	Sandow LAAR - 59.8 Hz

2.5.4  Step 1	Changed	60 Hz to 59.96 Hz

2.5.4  Step 1	Deleted	"ATTEMPT to deploy any remaining Balancing Energy.

2.5.4  Step 1	Added	"Check with the Operating Period Desk for any remaining 	Balancing Energy"

2.5.5  Step 5	Changed	…notify all QSEs (using a hotline call); approximately 30…

2.5.5  Step 9	Changed	…notify all QSEs (using a hotline call); approximately 30…

2.6.5  Step 1.a	Added	"Typical script:"

2.6.5  Step 1.a	Added	…are encountered.  All generating unit or resource performance 	testing needs to be suspended.  QSEs are…

2.6.5  Step 1.b	Added	Uncommitted QSE's available units have been committed 	(OOMC) and loaded as necessary (OOME)

2.6.5  Step 3.c	Changed	Should reference Appendix 2.

2.6.5  Step 4.c	Changed	…ERCOT Operating Guides in order...

Header Going forward through page 44 the header states Section 2:  	Procedures, but there is no header like this prior to this page

2.6.6  Step 3.a	Changed	Should reference Appendix 2.

2.7.1  Note 2	Deleted	Constraints Activated; Units OOME'd or OOMC'd; Flow limits 	being challenged, or exceeded

2.8.1  Step 3	Deleted	5.1.2 - must be a formatting issue, it was in the document when I 	opened it

2.8.2  Note 2	Deleted	All references to Inadvertent Payback are limited to payback for 	2001 through 2003 Inadvertent Energy, which will always be received by 	ERCOT.  Initially, Inadvertent will only be paid back on the East Tie using 	a 20 MW Bias.

2.8.2  Step 1	Deleted	Contact the AEP DC Tie Operator and develop a schedule for 	inadvertent payback for the next day.  Ignore on peak or off peak 	considerations.  Limit payback to 20 MW per hour

Header	 	Going forward the header states appendices/attachments.  	Those actually begin on page 52.

2.8.2	Added	"East DC Tie" to end of line

2.8.2	Added	"East DC Tie" to end of line

2.8.3	Added	Added the entire 2.8.3 section to cover procedures on the South 	DC Tie

2.8.4	Added	Added the entire 2.8.4 section to cover procedures on Adjustment 	of DC Ties

2.8.5  Step 2	Deleted	"An updated schedule profile fax should be received"

2.8.2 Step 2, 2.1.1	Deleted	NOT, AND

2.8.2  Step 2, 2.1.1a	Deleted	REMIND the QSE to send the updated schedule profile

3.7 (Shows 4.3)	Added	Added the appendix

A copy of the updated procedure, Frequency Control Desk V3R28, is available at http://www.ercot.com/AboutERCOT/PublicDisclosure/ERCOTProcedures.htm.