# ERCOT Operations Bulletin 199

ERCOT has revised the Transmission & Security Desk section of the Operating Procedure Manual.

Changes include the following:

2.1.2 “RTCA Congestion Management” first Note, steps 7, 10, and 14

2.1.4 “OOME – VDI Guidelines” step 5, deleted step 6

2.2.3 “Zonal (CSC) Congestion Management” steps 5 and 6, deleted step 7

2.2.4 “Pre-Contingency Action Plans” step 4, second bullet in step 4

2.2.5 Remedial Action Plans” steps 1 and 5

2.2.6 “Mitigation Plans” steps 2 – 5

2.2.9 “Managing the Wind Powered Generation Resources in the McCamey Area” added Note 	prior to step 1, removed Note prior to step 4

2.2.10 “Managing Line Rating Changes” step 1, fourth bullet

2.3.1 “Approval of an Outage on transmission Devices of Less than One Hour Duration” step 3

2.3.2 “Manage Forced & Level 1 Outages” steps 2 and 5

2.3.3 “Forced & Level 1 Outages – FAX Guidelines” step 3

2.3.4 “Interrupted Outages” step 2

2.3.7 “Guidelines for Withdrawal of an Outage” Note

2.4 changed section title from ‘Manage Voltage’ to ‘General Voltage Guidelines”, updated steps 2 – 3

2.4.3 “DFW Reactive Reserves” Note, steps 1 – 2, deleted steps 3 – 4

2.5.1 “Issue an Operating Condition Notice” Note and step 1

2.5.2 “Issue an Advisory” step 1, 1d

2.5.3 “Issue an Alert”  Note, step 1

2.5.4 “Issue an Emergency Notice step 1

2.5.6 “Implement EECP” first Note

2.5.7 “Restore EECP Steps” first Note

2.6.1 “Perform Shift Handoff step 1

2.6.2 “Issue VDI” second Note, step 3

2.6.6 “Placing a Resource in TEST Mode in the MOI” step 1, deleted second Note, deleted steps 2 – 4

Appendix 2, step 1 “Conduct Future Security Analysis” added precursor prior to Note

Appendix 4 “VDI” updated form

Appendix 8 “DFW Reactive Reserves” Unit Name ‘MELP’ changed to ‘MDANP’

A copy of the updated procedure, Transmission & Security Desk V3R52, is available at http://www.ercot.com/AboutERCOT/PublicDisclosure/ERCOTProcedures.htm.