# ERCOT Operations Bulletin 205

CN#260 VDI for Oklaunion

Effective Date:  August 16, 2005

Expiration Date:  December 15, 2005

Transmission and Security Desk

This work-around is due to SPD’s inability to separate OOM deployments between the joint owners of Oklaunion.

It is recommended that Operations issue a Verbal Dispatch Instruction to AEP

(The master QSE for Oklaunion) for the MW limits ERCOT needs at Oklaunion.  This is to be done in place of the OOM tool specifically for Oklaunion.