# ERCOT Operations Bulletin 32

ERCOT has upgraded the Outage Scheduler software to allow the Transmission Operator Centers to enter "Actual Start"  & "Actual End" times for Transmission Outages.

September 1, 2003 is the official date for the Transmission Operator Centers to begin entering "Actual Start"  & "Actual End" times for all Approved Transmission Outages.

Other changes that have taken place are:

- "Equipment Status Changes" are enterable by the Transmission Operator.

- Deratings are enterable by the QSE or Resource.

- "Mult CB" column added.  If more than 1 CB serves the Equipment or Line "Mult CB" column will display a "Y".  This will help identify CB outages that interrupt power flow.

## When applicable, the "To Station" field is populated on CB outages