# ERCOT Operations Bulletin 206

ERCOT has revised the Transmission & Security Desk section of the Operating Procedure Manual.

Changes include the following changes:

Updated section 2.1.4 “OOME – VDI Guidelines” added new step 5

| ### 2.1.4 OOME – VDI Guidelines |  |
| --- | --- |
| ###### Step # | ###### Procedural Steps |
| 5 | When a TO informs ERCOT of an SPS activation and the SPS activation de-rates a resource or takes a resource off line, issue a VDI to the affected QSE. - Immediately after the unit is derated, record the generation level on the VDI form. - Only list the beginning of the interval, the ending interval is not necessary. - If the resource is a DC tie, include the name and zone of the tie. |

A copy of the updated procedure, Transmission & Security Desk V3R54, is available at

http://www.ercot.com/AboutERCOT/PublicDisclosure/ERCOTProcedures.htm.