# ERCOT Operations Bulletin 212

CN# – 276

## Effective Date:  September 23, 2005

## Expiration Date:  December 31, 2005

## Desk:  Frequency (DC Ties)

Procedure

1) If a QSE submits a tag and the tag is greater than the QSE’s Resource Plan for the DC Tie, deny the tag.

2) If a QSE submits a tag and the tag is less than or equal to the QSE’s Resource Plan for DC Tie, approve the tag.

Discussion

Protocol Section:

4.4.18.2 Linkage of Schedules with Interconnected Non-ERCOT Control Area

Schedules

Explanation of Steps

1) If the tag is greater than the MOI schedule, then MOI schedule does not have enough generation to cover the tag. Hence, a linkage does not exist.

2) A linkage exists if the tag is less than the MOI schedule. In this case, enough generation is scheduled to cover the tag.