# ERCOT Operations Bulletin 215

CN#281 – Maintenance Level 2 and 3 Outages

Effective Date:  October 1, 2005

Expiration Date:  December 15, 2005

Extending CN#237

Transmission & Security Desk

Discussion:

Maintenance Level 2 and 3 outages are coordinated with the ERCOT Outage Coordination Group.  These outages should not be “accepted” by anyone other than that group. However, until they are accepted in the Outage Scheduler, they will continue to show up every time the Outage Scheduler refreshes (that is about every 2 minutes).

Action:

DO NOT check the “accept” box for Maintenance Level 2 and 3 Outages in the Outage Scheduler.

Instead, place those Maintenance Level 2 and 3 outages in “Study” status and notify the Outage Coordination group of the Maintenance Level 2 or 3 outage, by email to “1 ERCOT Outage Coordination”.