# ERCOT Operations Bulletin 44

ERCOT has revised the Day-Ahead section of the Operating Procedure Manual.

This change is a temporary change and expires on December 1, 2003.

TCN # 64 – Temporary solution to provide Transmission Operators with information on Planned Outages that require movement of generation.

# Expiration Date:  December 1, 2003

Introduction:

ERCOT has encountered a problem of not getting end times for Planned Outages that require workarounds such as moving generation to solve congestion caused by these outages.  These outages are discussed in the outage notes and we will refer to them as Priority Outages.

Procedure:

In the day-ahead process, the day-ahead operator will make a list of Priority Outages scheduled for the next day for each TO.  FAX the appropriate list to each affected TO and ask them to enter the start and end times for those particular outages within 30 minutes of the actual start or end time into the Outage Scheduler.  This should be completed by 1600 for the day ahead.  Other outages can be entered into the Outage Scheduler by the TO as soon as practicable.