EECP STEP 4 LOAD SHED TABLE UPDATE

As directed by ERCOT Operating Guide 4 under Section 4.5.3, ERCOT has reviewed and modified the Load Shed Table used in Step 4 of EECP.  The ratios used were based on the 2001 4CP Calculation filed by TDSP’s with the PUCT.  Load ratios are assigned to Transmission Operators (TO’s) who act on behalf of TDSP’s.  If Step 4 of the EECP is implemented, these are the values, per 100 MW total, each TO is to shed.

ERCOT Load Shed Table

| ### Transmission # Operator | Total Transmission Operator Load (MW) |
| --- | --- |
| Austin Energy | 3.97 |
| #### American Electric Power | 10.01 |
| Brazos Electric Power Cooperative | 3.15 |
| City Public Service of San Antonio | 6.90 |
| City of Bryan | 0.44 |
| City of College Station | 0.26 |
| City of Denton | 0.37 |
| City of Garland | 0.83 |
| Lower Colorado River Authority | 4.57 |
| Magic Valley Electric Cooperative | 0.20 |
| Oncor | 38.83 |
| Public Utility Board of Brownsville | 0.41 |
| Rayburn Country Electric Cooperative | 0.70 |
| CenterPoint Energy | 26.61 |
| South Texas Electric Coop-Medina Electric Coop | 0.60 |
| Tex-La | 0.14 |
| Texas New Mexico Power | 2.01 |
| ## ERCOT Total | 100.00 |