# ERCOT Operations Bulletin 218

CN#283 – Voltage Support

## Effective Date:  09/29/05

## Expiration Date:  10/31/05

# Desk:  Transmission & Security

Regarding Section 2.4.1 “Respond to Voltage Issues”

NOTE:	When a VDI is given requesting voltage support from a QSE, the VDI will direct the QSE to maintain a specified voltage set point. The VDI shall not direct the QSE to change generator MW output in order to provide voltage support.