# ERCOT Operations Bulletin 45

ERCOT has revised the Operating Period section of the Operating Procedure Manual.

The change is located in section 2.1.1 on page 7.  The reference display was deleted in step one.

### V2R6

| 1 | EXECUTE a Case. Refer to APPENDIX 2: MAKING A SET-UP CASE, SAVE CASE, AND EXECUTING AN HOUR AHEAD STUDY Reference Display: Studies; select “window” on tool bar and left click. Bring the cursor over the word “Studies” and click with the left mouse button. Select ‘Save Case’ to run. |
| --- | --- |

### V2R7

| 1 | EXECUTE a Case. Refer to APPENDIX 2: MAKING A SET-UP CASE, SAVE CASE, AND EXECUTING AN HOUR AHEAD STUDY |
| --- | --- |

Operating Period Desk, Version 2 Rev. 7, is attached.