# ERCOT Operations Bulletin 46

ERCOT has revised the Transmission & Security Desk section of the Operating Procedure Manual.

The change is located in section 2.5.3 on page 22.

### V2R12

| 1 | Corrective actions identified by ERCOT shall be communicated through Dispatch Instructions to TDSPs and/or QSEs required to implement the corrective action. Each QSE shall immediately notify the Market Participants that it represents of such Alert. To minimize the effects on the ERCOT System, all TDSPs will identify and prepare to implement actions, including restoring outaged lines as appropriate and preparing for Load shedding. ERCOT may instruct TDSPs to reconfigure ERCOT System elements as necessary to improve the reliability of the ERCOT System. On notification of an Alert, each QSE and TDSP will prepare for an emergency in case conditions worsen. |
| --- | --- |
| 2 | USE the Emergency Notification System AND ISSUE the Alert. (Short version – 32 characters) |
| 3 | POST the long version of the Operating Condition Notice on the Market Information System (MIS) using Appendix 4 as a typical guide and initiate a hotline call to all Transmission Operators and QSEs (or see that another operator does so). Make a printout of the hotline log and save in the daily log file. |

V2R13

| 1 | Corrective actions identified by ERCOT shall be communicated through Dispatch Instructions to TDSPs and/or QSEs required to implement the corrective action. Each QSE shall immediately notify the Market Participants that it represents of such Alert. To minimize the effects on the ERCOT System, all TDSPs will identify and prepare to implement actions, including restoring outaged lines as appropriate and preparing for Load shedding. ERCOT may instruct TDSPs to reconfigure ERCOT System elements as necessary to improve the reliability of the ERCOT System. On notification of an Alert, each QSE (as applicable) and TDSP will prepare for an emergency in case conditions worsen. |
| --- | --- |
| 2 | USE the Emergency Notification System AND ISSUE the Alert. (Short version – 32 characters) |
| 3 | POST the long version of the Alert on the Market Information System (MIS) using Appendix 4 as a typical guide and initiate a hotline call to all Transmission Operators and QSEs (as applicable; or see that another operator does so). Make a printout of the hotline log and save in the daily log file. |

Transmission & Security Desk, Version 2 Rev. 13, is attached.