# ERCOT Operations Bulletin 47

ERCOT has revised the Frequency Control Desk section of the Operating Procedure Manual.

The change is located in section 2.3.1 on page 12.

### V2R7

| 1 | Ask the QSE or other party to fax a schedule with the unit name, start time and stop time, and MWH profile. Record the QSE, unit name, start time and stop time, and MWH profile on the standard VDI form. The form will have the Prefix of “UT” followed by the desk, date, and the number. Example: UT (desk)-122701-01 (MMDDYY-#) For the first unit test VDI issued by the Frequency Desk on Dec. 27, 2001 the number would be: UTF-122701-01. |
| --- | --- |

V2R8

| 1 | Ask the QSE or other party to fax a schedule with the unit name, start time and stop time, and MWH profile. |
| --- | --- |
| NOTE: | No instruction will be given to QSE. |
|  | - Mark the box from settlements information only. - Record the QSE, unit name, start time and stop time, and MWH profile on the standard VDI form. The form will have the Prefix of “UT” followed by the desk, date, and the number. Example: UT (desk)-122701-01 (MMDDYY-#) For the first unit test VDI issued by the Frequency Desk on Dec. 27, 2001 the number would be: UTF-122701-01. |

Frequency Control Desk, Version 2 Rev. 8, is attached.