# ERCOT Operations Bulletin 220

ERCOT has revised the Day Ahead Desk section of the Operating Procedure Manual.

Changes include updating Appendix 2.

## Appendix 2:  Method for Issuing Verbal Dispatch Instructions

PURPOSE:  	ISSUE a VDI to QSE(s) specifying changes to generation.

NOTE:  VDIs should not re-iterate an instruction given via XML.

Communicate required information to QSE(s) via telephone (using the hotline if appropriate).

NOTE:  VDI numbers as described here are only required for VDIs documented using the paper form.  VDIs documented using the OOM tool (post EMMS Release 4) will not

have a number available to the operator.  As time permits, complete the VDI form.

The following are required fields on all VDIs:

- VDI #

  - EXAMPLE:  For the 4th VDI issued by the Frequency Control Desk on July 22, 2005 the number would appear as “F-072205-4”

- Operating Day

- ERCOT System Operator

- Receiving Entity

- Receiving Entity’s Operator

- Time & Date

- Instruction

- Reason for Instructions

- Intervals

- ERCOT Operator’s signature

Blank fields are to have N/A entered.

As time permits, forward the VDI form to the Shift Supervisor.

LOG in the Operator’s Log the VDI information and information relevant to the

decision for issuing the VDI.

A copy of the procedure is available at http://www.ercot.com/AboutERCOT/PublicDisclosure/ERCOTProcedures.htm.