# ERCOT Operations Bulletin 54

ERCOT has revised the Day Ahead Desk section of the Operating Procedure Manual.

A new section covering Priority Outages has been added to the procedures.  The new step is located on page 10.

| Priority Outages |
| --- |
| Step # | Procedural Steps |
| NOTE: | A Priority Outage is one that requires workarounds such as moving generation to solve congestion caused by the outage. |
|  | Prior to 1600 |
| 1 | From a review of the Outage Notes for the next Operating Day, make lists of Priority Outages, sorted by affected Transmission Operator. |
| 2 | Fax the lists to the respective Transmission Operators accompanied by a request that within 30 minutes of the Actual Start and Actual End times of these Priority Outages, they enter the Actual Start and Actual End times in the Outage Scheduler. |

A copy of the Day Ahead Desk V2R13 is attached.