# Power Operations Bulletin #122

ERCOT has revised the Transmission & Security Desk section of the Operating Procedure Manual.

Changes include adding new section 2.6.3 entitled “Verbal Dispatch Exception.”

| 2.6.3 Issue Verbal Dispatch Exception (VDE) |
| --- |
| Step # | Procedural Steps |
| NOTE: | A VDE shall be granted to a QSE for the intervals where the OOME instruction was not included in the MCE execution if the following conditions are met: A QSE must request a VDE Accept a VDE request received before or during the first interval of the OOME instruction A VDE shall not include any interval prior to the requested interval |
| 1 | Issue a VDE when a VDI has been issued if the following conditions are met: A QSE must request a VDE Accept a VDE request received before or during the first interval of the VDI A VDE shall not include any interval prior to the requested interval |
| 2 | Document the Exception on the Verbal Dispatch Exception form. (See Appendix 7) |
| 3 | Ensure a copy of the VDE form, with appendices, is forwarded to Settlements and Market Operations. File the original in the daily logs. |

A copy of the updated procedure, Transmission & Security Desk V3R29, is available at http://www.ercot.com/AboutERCOT/PublicDisclosure/ERCOTProcedures.htm.