# Power Operations Bulletin #123

ERCOT has revised the Frequency Control Desk section of the Operating Procedure Manual.

Changes include adding new section 2.8.4 entitled “Over Scheduling DC Ties.”

| ### Over Scheduling DC Ties |  |
| --- | --- |
| ###### Step # | ###### Procedural Steps |
| 1 | Contact SPP by telephone before denying tag(s) in the event the DC Tie gets overscheduled. This will give the appropriate parties time to make the necessary adjustments and/or curtailments. |

A copy of the updated procedure, Frequency Control Desk V3R 16, is available at http://www.ercot.com/AboutERCOT/PublicDisclosure/ERCOTProcedures.htm.