# Power Operations Bulletin #127

TC #176

Effective Date:  November 30, 2004

Expiration Date: March 31, 2005

Frequency Control Desk

Discussion:

Maintenance Level 2 and 3 outages are coordinated with the ERCOT Outage Coordination Group.  These outages should not be “accepted” by anyone other than that group. However, until they are accepted in the Outage Scheduler, they will continue to show up every time the Outage Scheduler refreshes (that is about every 2 minutes).

Action:

DO NOT check the “accept” box for Maintenance Level 2 and 3 Outages in the Outage Scheduler.

Instead, place those Maintenance Level 2 and 3 outages in “Study” status and notify the Outage Coordinator group of the Maintenance Level 2 or 3 outage, by e-mail to “1ERCOT Outage Coordination.”