# Power Operations Bulletin #128

TC # 178 – Verbal Dispatch Exception

Effective Date: November 30, 2004

Expiration Date: December 6, 2004

Extension of CN 138

Frequency Control Desk

NOTE:  This is a workaround until further notice.

- A VDE shall be granted to a QSE for the intervals when the OOME instruction was not included in the MCE execution if the following conditions are met:

  - A QSE must request a VDE.

  - Accept a VDE request received before or during the first interval of the OOME instruction.

  - A VDE shall not include any interval prior to the requested interval.

- Issue a VDE when a VDI has been issued if the following conditions are met:

  - A QSE must request a VDE.

  - Accept a VDE request received before or during the first interval of the VDI.

  - A VDE shall not include any interval prior to the requested interval.

- Document the Exception on the Verbal Dispatch Exception form.

- ENSURE a copy of the VDE form, with appendages, is forwarded to Settlements and market Operations.  File the original in the daily logs.