# Power Operations Bulletin #129

CN#183 – West Texas Voltage

## Effective Date:  12/10/04

## Expiration Date:  06/01/2005

Updated:  12/15/04

# Transmission & Security Desk

Purpose

To notify T.O.s that the Resource Plan shows generation is scheduled to be taken off line at a time when the load forecast exceeds 44000 MWs. This allows transmission operators to prepare for the loss of dynamic reactive reserve resources and prevent potential voltage problems.

Procedure

When two or more units in the list of plants identified below are scheduled to come off line during the period when the load is forecasted to be greater than 44000 MWs, notify the AEP and TXU transmission operators.

- FTPP

- MGSES

- OECCS

- OKLA

- PBSES

Complete this task prior to 1400 each day.

Notes

In the MOI, select the “Resource Plan Info” from the Window pull down menu. Then select the “Display Print Resource Plan”. This display will give you an overview of the times units are scheduled to come on and off line.