Temporary Change #172

Effective Date:  November 30, 2004

Expiration Date:  March 31, 2005

Updated:  January 25, 2005

Transmission & Security Desk

Discussion:

Maintenance Level 2 and 3 outages are coordinated with the ERCOT Outage Coordination Group.  These outages should not be “accepted” by anyone other than that group. However, until they are accepted in the Outage Scheduler, they will continue to show up every time the Outage Scheduler refreshes (that is about every 2 minutes).

Action:

DO NOT check the “accept” box for Maintenance Level 2 and 3 Outages in the Outage Scheduler.

Instead, place those Maintenance Level 2 and 3 outages in “Study” status and notify the Outage Coordination group of the Maintenance Level 2 or 3 outage, by email to “1 ERCOT Outage Coordination” of the following:

- Station Name

- Start Date (duration if available)

- Time (if available)