# ERCOT Operations Bulletin 58

ERCOT has revised the Transmission & Security Desk section of the Operating Procedure Manual.

This change is a temporary change and expires on April 15, 2004.

# TC # 88 – Procedure when OOMEing Combined Cycle Units

# Off Line

## Expiration Date:  April 15, 2004

Introduction:

When System conditions require OOMEing offline one CT of a Combined Cycle Plant, prior to sending the OOME deployments the ERCOT Transmission Security Operator will contact the QSE representing that resource to find out what the total MW available on the Steam Unit will be and send an OOME deployment for the Steam Unit for that amount for the same intervals as the CT that is being OOME’d off line.

Note:

Combustion Turbines, CT’s and Gas Turbines, GT’s are the same type of generators.  Within MOS, in the resource plan, both names are used.  An example is at Duke they are GT’s and at Rio Nogales they are CT’s.