# ERCOT Operations Bulletin 67

ERCOT will implement the recent changes to Protocol 8 in PRR 425 by having a month of preparation followed by 3 phases of implementation.

- March 1 2004  to  March 31 2004  is the "preparation month" . This interval will be used to allow QSEs obtain proper Certificates required to access the ERCOT Outage Scheduler for the Resources they represent and train their staff on changes to Protocol 8.

- ERCOT will develop manual processes for Resource & Transmission Outage submittal that will be required for temporary operation during Outage Scheduler software development.  ERCOT will train Operations staff on changes to Protocol 8.

- Manual Processes for Resource & Transmission Outage will be posted on the ERCOT MIS no later than March 15 2004.

- QSEs must obtain certificates and have them operational by March 31 2004.

- QSEs and TOs must bring their 12 month plans to current status by May 1 2004.

The following steps represent the initial phase of operation:

Phase 1 – Manual process begins April 01, 2004

QSEs will follow the new rules for planned outage entry outlined in Protocol 8 and in the Resource Outage Process that will be posted on the web.

- The Outage Scheduler will continue to receive all planned outage requests and respond with an acknowledgement of “ACCEPTED”.

- ERCOT will all study the requests submitted 8 days or less before the planned start date and contact the participant, when reliability concerns exist.

- Resource and Transmission Maintenance Level I Outages should be coordinated with ERCOT before equipment is removed from service.  In urgent cases, equipment can be removed to prevent damage.  Notification will continue to be received by voice communication, backed up later with supporting information.  Supporting information will be submitted on a new form.

# Phase II

The following components of implementation will be taken when the first stage of software changes are complete:

- Resource Planned Outages entered less than 8 days before the start date will be marked as "Received at ERCOT".  ERCOT will evaluate the submitted Planned Outages, if Reliability concerns exist, ERCOT will contact the submitter and coordinate a solution, if possible.  ERCOT will communicate its decision to accept or reject the received outage through the Outage Scheduler.

- Forced outages as well as Forced-Unavoidable Extensions to Outages, will be submitted through the Outage Scheduler.

- Maintenance Level I Outages (TO’s & QSE’s) will be received by voice communication ERCOT System Operators.

- Maintenance Level II & Level III Outages (TO’s & QSE’s) will be received by voice communication by ERCOT Outage Coordination Group.

- Supporting Information documentation for Maintenance Level I, Level II, and Level III will be submitted through the Outage Scheduler.

# Phase III

The following components of implementation will be taken when the third stage of software changes are complete:

- Version Tracking will be added to Outage Scheduler to track all modifications that are made to the original document.

- A Performance Metric will be implemented for monitoring the performance of QSEs and TOs with respect to outage schedule updates.