# ERCOT Operations Bulletin 3

ERCOT has reviewed the Transmission Outage Approval Process implemented approximately one year ago.  Three major changes have been made to allow the TSP more freedom of scheduling of outages.

1.	Transmission Operators (Tos) shall coordinate the switching of Transformers that serve loads at voltages less than 60 KV.

2.	Maintenance on breakers directly connecting to a generator may be performed without  prior approval when a generator is off the line due to a Forced Outage and the maintenance will not delay the availability of the generator.

3.	TOs can coordinate the outages of transmission devices that will be open less than 1 hour, can be restored immediately, and that such operation shall not affect the availability of the transmission equipment.  The TOs must receive verbal approval from the ERCOT Transmission & Security Operator before removing the device from service.