# ERCOT Operations Bulletin 7

Two modifications have been made to the Transmission Outage Approval Process.

A.	2.1   Level II and Level III has been added to help clarify maintenance outages that ERCOT must approve.

B.      2.1.5   A paragraph has been added to allow removal of open-ended line segments for maintenance. Open-ended line segments can now be removed from service with the approval of the ERCOT Transmission & Security Operator.  The switching of the line segment must not swap load or change load flow direction.