# ERCOT Operations Bulletin 228

CN#298 – Block Load Transfer

## Effective Date:  December 6, 2005

## Expiration Date:  March 1, 2006

# Transmission & Security Desk

Purpose

To assist and supply emergency power to non ERCOT control areas via Block Load Transfers (BLT).

Procedure

1)  If an ERCOT TO becomes involved in a BLT, execute the following:

- Consult with Operation Engineering Support to ensure system security has been addressed.

- Notify the Chief System Operator that a BLT has been initiated.

- If the TO request a VDI, issue a VDI to the TO.

2)  Once it has been determined which QSE will supply the power, issue a VDI to the requesting QSE.

3)  Congestion management issues that arise from switching variations due to BLTs will be handled per ERCOT’s congestion management procedures as defined in the Transmission Security procedure manual.

Discussion

ERCOT will supply emergency assistance as requested from non ERCOT control areas.

If possible, record the affected substations, estimated load and duration of the BLT on the VDI forms.