# ERCOT Operations Bulletin 231

CN#305   Maintenance Level 2 and 3 Outages

Effective Date:  December 15, 2005

Expiration Date:  June 15, 2006

Extending CN #246

Frequency Control Desk

Discussion:

Maintenance Level 2 and 3 outages are coordinated with the ERCOT Outage Coordination Group.  These outages should not be “accepted” by anyone other than that group. However, until they are accepted in the Outage Scheduler, they will continue to show up every time the Outage Scheduler refreshes (that is about every 2 minutes).

Action:

DO NOT check the “accept” box for Maintenance Level 2 and 3 Outages in the Outage Scheduler.

Instead, place those Maintenance Level 2 and 3 outages in “Study” status and notify the Outage Coordination group of the Maintenance Level 2 or 3 outage, by email to “1 ERCOT Outage Coordination”.