# ERCOT Operations Bulletin 254

CN# 333

## Effective Date:  March 31, 2006

## Expiration Date:  September 30, 2006

# Desk:  Frequency Control Desk

Procedure

When the output of a jointly owned unit need to be at a specific MW level, issue a paper VDI instead of using the OOME tool.

Discussion

A SIR is being written to correct this problem