# ERCOT Operations Bulletin 256

ERCOT has revised the Transmission & Security Desk section of the Operating Procedure Manual.

Changes include incorporating new section 2.2.5 “SPS Intervention.”

| 2.2.5 SPS Intervention |
| --- |
| Step # | Procedural Steps |
| 1 | If the system operator observes that a SPS is about to operate, AND the operation of the SPS will create a reliability issue, then congestion management techniques may be employed in an attempt to prevent its’ activation. |
| 2 | If no reliability issues will arise as a result of a SPS’s operation, then allow the SPS to perform its function. |

A copy of the procedure is available at http://www.ercot.com/mktrules/guides/procedures/index.html.