# ERCOT Operations Bulletin 261

Effective Date:   05/12/2006

Expiration Date:  11/30/2006

Shift Supervisor Desk

| ### SMP Alarm |  |
| --- | --- |
| ###### Step # | ###### Procedural Steps |
| ###### PURPOSE: | ###### To monitor the status of the SMP hardware in the EMMS in order to minimize the equipment outage duration when it occurs. |
| 1 | Monitor the SMP status indicator located on the “ERCOT & QSE Summary Page” and/or the “ERCOT Region Map” located in the PI system. If the status is normal: - A constant green box will be displayed - No further action is required. If the status is abnormal: - A red and flashing box will be displayed - Go to step 2. |
| 2 | Contact the ERCOT Help Desk and tell them “the SMP Alarm status in Processbook is flashing red and to please check the QSE data and their feedbacks.” Also ask them to notify the on call EMMS Production person of the situation. |