# ERCOT Operations Bulletin 263

ERCOT has revised the Day Ahead Desk Procedure.  Revision includes incorporating new section 2.1.4 “In Service Approval Procedure.”

| ## Initiate ERCOT Adjustment Period Replacement Capacity STUDY |  |
| --- | --- |
| ###### Step # | ###### Procedural Steps |
| CAUTION | When an ERCOT Adjustment Period Replacement Capacity STUDY is run, Do NOT select the PUBLISH button on the Study page before you execute the study. When an ERCOT Adjustment Period Replacement MARKET is opened, follow procure 2.15 and Select the PUBLISH button on the Study page to OPEN the RPRS Market. |
| 1 | - If following the close of the Day Ahead Market, conditions develop such that additional Replacement Reserve Services may be needed; INITIATE the “Studies” display the appropriate date and intervals to be studied. - Ensure “Execute SFT” is checked. - SELECT “Replacement” in the “Study Mode” area. - SELECT the “Savecase” model to be used for the study. - SELECT the appropriate hours through hour ending 2400 of the day of the study - SAVE the study with the appropriate name. |
| 2 | RUN a replacement analysis by clicking the “EXECUTE” button. |
| 3 | Review the results to determine if an ERCOT Adjustment Period Replacement MARKET is needed. DISCUSS with the Shift supervisor when necessary. |

| ## Initiate ERCOT Adjustment Period Replacement MARKET |  |
| --- | --- |
| ###### Step # | ###### Procedural Steps |
| NOTE: | - If either the MAI or the results of section 2.14 indicates that an additional Replacement MARKET is needed, DISCUSS with the Shift Supervisor. - If it is determined that a second Market is needed, CONTINUE. |
| NOTE: | - In the following steps, “X” designates the time at which the need for additional RPRS is identified (adjusted to the top of the next clock hour). |
| 1 | - At least 10 minutes prior to time X, but no less than two hours prior to the start of the first Operating Hour that the additional Replacement Reserve Services are required, OPEN a RPRS market by selecting the PUBLISH button on the Study page for the appropriate hours through hour ending 2400 of the day of the study. |

A copy of the procedure is available at http://www.ercot.com/mktrules/guides/procedures/index.html.