# ERCOT Operations Bulletin 264

ERCOT has revised the Transmission & Security Desk Procedure.  Revision includes incorporating new section 2.5.10 “Block Load Transfer.”

| ### 2.5.10 Block Load Transfer |  |
| --- | --- |
| ###### Step # | ###### Procedural Steps |
| 1 | If an ERCOT TO becomes involved in a Block Load Transfer (BLT), execute the following: - Consult with the Operation Engineering Support to ensure system security has been addressed - Notify the Chief System Operator that a BLT has been initiated - If the TO requests a VDI, issue a VDI to the TO |
| 2 | Once it has been determined which QSE will supply the power, issue a VDI to the requesting QSE. |
| 3 | Congestion management issues that arise from switching variations due to BLTs will be handled per ERCOT’s congestion management procedures. |

A copy of the procedure is available at http://www.ercot.com/mktrules/guides/procedures/index.html.