# ERCOT Operations Bulletin 270

ERCOT has revised the Frequency Control Desk Procedure.  Revision includes incorporating new section 2.8.1 “Maintenance Level 2 & 3 Outages.”

| ### Maintenance Level 2 & 3 Outages |  |
| --- | --- |
| ###### Step # | ###### Procedural Steps |
| NOTES: | Maintenance Level 2 and 3 outages are coordinated with the ERCOT Outage Coordination Group. These outages should not be “accepted” by anyone other than that group. However, until they are accepted in the Outage Scheduler, they will continue to show up every time the Outage Scheduler refreshes (that is about every two minutes). |
| 1 | DO NOT check the “accept” box for Maintenance Level 2 and 3 Outages in the Outage Scheduler. Instead, place those Maintenance Level 2 and 3 outages in “Study” status and notify the Outage Coordination group of the Maintenance Level 2 or 3 outage, by email to “1 ERCOT Outage Coordination”. |

A copy of the procedure is available at http://www.ercot.com/mktrules/guides/procedures/index.html.