- ERCOT Operations Bulletin 273

Title:  Relief of Non Spin-Obligation

CN#:  367

## Effective Date:  July 17, 2006

## Expiration Date:  December 31, 2006

# Desk:  Transmission & Security Desk

Procedure

If a QSE is instructed to deploy Non-Spin and they inform you that they can not comply because the Replacement Market selected a unit they intended to use for Non-Spin, issue a VDI to relieve them of their obligation if

the QSE does not have any other resources to cover its obligation.

Discussion

Non-Spin is a portfolio deployment.  If a GT is brought on-line by the Replacement Market, the QSE still has an obligation to supply Non-Spin with uncommitted spinning from their portfolio.