# ERCOT Operations Bulletin 279

ERCOT has revised the Operating Period Desk section of the Operating Procedure Manual.

Changes include updating section 2.1.2, adding new step 8.

| 2.1.2 | Respond to Hour-Ahead Study Results |
| --- | --- |
| 8 | ERCOT will provide notice via the ENS to all QSEs at the beginning of the interval when NSRS is deployed and at the end of the interval when NSRS deployment ends. Typical Script: “NSRS deployed ________________” OR “NSRS deployment ended ____________”. |

A copy of the procedure is available at http://www.ercot.com/mktrules/guides/procedures/index.html.