# ERCOT Operations Bulletin 283

ERCOT has revised the Operating Desk Procedure.  Revision includes incorporating new section for deploying non-spin reserve service for diminishing reserve.

| ### 2.4.2 Deploying Non-Spin Reserve Service for Diminishing Responsive Reserve |  |
| --- | --- |
| ###### Step # | ###### Procedural Steps |
| PURPOSE: | The need to deploy Non-Spin Reserve Service for diminishing Responsive Reserves. |
| 1 | IF Adjusted Responsive Reserve is equal to or less than 2500 MW, but greater than 2300MW: - Ensure the Frequency Control Desk has issued an Alert |
| 2 | Utilize Non-Spin Reserve Services that can be deployed to increase Responsive reserves. |

A copy of the procedure is available at http://www.ercot.com/mktrules/guides/procedures/index.html.