- ERCOT Operations Bulletin 296

ERCOT has revised the Transmission & Security Desk Procedure.  Revision includes updating section 2.5 – updated step 2, deleted step 3; Appendix 7.

| 2 | Issue an OCN (Advisory, Alert, Emergency Notice): - Post on the ENS - Post on the MIS - Notify TOs via the Hotline - Print Hotline log and save in daily log as time permits |
| --- | --- |
| NOTE: | The Transmission and Security Desk will notify the Transmission Operators. |

## Appendix 7:  Telephone Hotline

| QSEs |  |
| --- | --- |
| AEN | Garland |
| AEP Ohio | LCRA |
| ANP | Merrill Lynch |
| APX Equinix | MIRANT |
| BEPC (Brazos) | MPower |
| British Petro | Occidental Greenway |
| BTU | Reliant REPS |
| Calpine | Sempra |
| Constellation | STEC |
| Coral | SUEZ |
| CPSB | Tenaska |
| Direct Energy | Topaz |
| Dynegy | NRG |
| Exelon | TXU |
| FP&L Juno Beach | XTend |
| FULCRUM |  |

| TOs |  |
| --- | --- |
| AEN | Denton |
| AEP | Garland |
| BEPC | LCRA |
| BPUB | Magic Valley |
| BTU | Rayburn |
| Centerpoint | STEC |
| College Station | TNMP |
| CPSB | TXU Electric Delivery |

A copy of the procedure is available at http://www.ercot.com/mktrules/guides/procedures/index.html.