# ERCOT Operations Bulletin 297

ERCOT has revised the Day Ahead Desk Procedure.  Revision includes updating section 2.5 – changed step sequence.

| Priority Outages |
| --- |
| Step # | Procedural Steps |
| NOTE: | A Priority Outage is one that affects generation. |
|  | Prior to 1600 |
| 1 | From a review of the Outage Notes for the next Operating Day, make lists of Priority Outages, sorted by affected Transmission Operator. Save in P:\DAY AHEAD – TDSP PRIORITY OUTAGE NOTIFICATION Print copies. Fax the lists to the respective TOs accompanied by a request that within 30 minutes of the Actual Start and Actual End times of these Priority Outages, they enter the Actual Start and Actual End times in the Outage Scheduler Place in Daily Log File |

A copy of the procedure is available at http://www.ercot.com/mktrules/guides/procedures/index.html.