ERCOT Operations Bulletin 304
TC # 420 – Fast Start Emergency Schedules to SPP

Effective Date:  December 11, 2006

Expiration Date: July 31, 2007

Extending Change #363

Frequency Control Desk

Procedure: 

1. If SPP’s need for Emergency Power in not immediate, SPP will make arrangements through normal scheduling channels.

2. If the need is immediate, SPP will notify ERCOT that emergency assistance in being initiated.
3. Before approving the transfer, verify that providing emergency assistance to SPP will not put ERCOT in an insecure state, or worsen an existing insecure state.

4. SPP will contact AEP and arrange to maximize DC tie output into SPP.

· It is not necessary to confirm that emergency conditions exist in the RCIS. SPP may need to act before the RCIS is updated.

5. Direct the Operating Period Desk to adjust the Offset to minimize the use of Regulation until the schedule is in the MOI (Market Operator Interface).

6. A NERC tag will be created after the fact for emergency power.

7. Issue VDI (Verbal Dispatch Instruction) to the source QSE (Qualified Scheduling Entity) and include the MW amount along with the start and stop time.

NOTE:  

· Every effort should be made to render assistance during emergency conditions.

· The Emergency schedule can start at anytime and is not required to be in the MOI.  A schedule should be put in the ERCOT MOI as soon allowable by the Operating Period Lockout.













