- ERCOT Operations Bulletin 310

ERCOT has revised the Transmission & Security Desk.  Changes include updating section 2.2.3.  Steps 1-6 have been updated and revised.

| ### 2.2.3 Zonal (CSC) Congestion Management |  |
| --- | --- |
| ###### Step # | ###### Procedural Steps |
| NOTES: | Zonal Congestion Management Techniques are OC1s. Local Congestion Management Techniques consist of OC2s, Unit specific dispatch instructions (OOME or VDIs), Remedial Action Plan (RAP), Pre-Contingency Action Plan (PCAP), Mitigation Plan (MP), and Temporary Outage Action Plans (TOAP). TOAP guidelines are located in the Outage Notes. Unit specific dispatch instructions may be determined by shift factors or studies, whichever the system operator deems most appropriate. IF a specific constraint is needed for local congestion and does not exist, REQUEST Operations Support Engineering to provide the constraint. The order of steps in this procedure is a recommendation. The system operator will determine the sequence of steps, or any additional actions necessary, to ensure system security. |
| 1 | When a CSC approaches or exceeds its limit on the “Transmission Limits to be Monitored” daily report, EMPLOY Zonal Techniques. - As the CSC approaches its limit, the system operator may use his/her discretion when to implement congestion management, either before or at the time the limit is exceeded, depending on system conditions. |
| 2 | When RTCA shows a post contingency overload on a CSC, AND the CSC has not exceeded its’ limit on the “Transmission Limits to be Monitored” daily report, AND RTCA has solved within the last 10 minutes, then RTCA results should be used as a basis for managing zonal congestion. |
| 3 | If Zonal Techniques are ineffective controlling to RTCA values, Local Congestion Management Techniques may be used. - Use the MIS to post that local techniques are being used to control CSC congestion to RTCA values. Typical Script: “Zonal congestion management techniques have been unsuccessful in controlling the CSC. “<Contingency > <Monitored Element.>” Local techniques will be utilized.” |
| 4 | IF RTCA values are being used to control a CSC, - NOTIFY Operations Support to determine if a new limit should be calculated. |
| 5 | IF a new Zonal limit is calculated by Operations Support, post it on the MIS and ENS, AND control to the new limit. |
| 6 | If local congestion management methods are not successful controlling the CSC, issue a transmission ALERT stating that market congestion management techniques specified in the protocols will not be adequate to resolve transmission problems. |
| NOTE: | Zonal limits may change due to an outage cancellation, extension of an outage, or the early completion of an outage. |

A copy of the procedure is available at http://www.ercot.com/mktrules/guides/procedures/index.html.