- ERCOT Operations Bulletin 313

ERCOT has revised the Day Ahead Desk section of the Operating Procedure Manual.

Changes include updating section 2.13, adding new note.

| ## Procure Replacement Reserve Services and Manage Capacity Shortfalls |  |
| --- | --- |
| ###### Step # | ###### Procedural Steps |
| NOTE: | If it is determined that weather, outage or other conditions will require capacity from resources with lead times too long to be considered by RPRS, then additional capacity should be OOMCd via Verbal Dispatch Instruction. The choice of resources to OOMC should be made considering the causative conditions, available resources, lead times, congestion management and other operational concerns. |

A copy of the procedure is available at http://www.ercot.com/mktrules/guides/procedures/index.html.